## Phase 1 — OT Security Assessment (Your Entry Point)

This is the easiest service to sell.

You perform:

### 1. OT Asset Discovery

Identify:

- PLCs, HMIs, SCADA servers

- IP ranges

- Protocols used (Modbus, OPC, Profinet, DNP3)

Tools you can use:

- Nozomi Guardian

- Claroty xDome

- Tenable.ot

- Free options: NMAP + careful passive scanning, OpenPLC Scanner

### 2. Network Architecture Review

Check:

- Whether OT and IT networks are segmented

- Firewall rules

- Remote access configurations

- Vendor connections

- Wireless bridges

- VLAN structure

### 3. Vulnerability & Patch Status Analysis

Document all:

- Unsupported OS

- Outdated firmware

- Open ports

- Weak authentication

- Hardcoded passwords

### 4. OT SOC & Monitoring Readiness

You evaluate:

- Can their OT logs flow into SIEM?

- Correlation rules for OT threats

- Visibility gaps

- Incident response process for OT

(Securonix + Nozomi/Claroty is a strong selling point.)

### 5. OT Risk Scoring

Provide a business-friendly scoring:

- Safety risk

- Production downtime risk

- Financial impact

- Regulatory impact

This is where they get convinced.

## Phase 2 — Deploy OT Security Controls

You can offer:

### 1. Network Segmentation

IT / OT boundary with firewall.
Implement zones:

- Safety system zone

- Control zone

- Supervisory zone

- Enterprise zone

### 2. Secure Remote Access

Replace TeamViewer with:

- Jump servers

- MFA

- Time-bound access

- Activity recording

### 3. Continuous Monitoring

Install OT-specific threat detection:

- Nozomi / Claroty (best-in-class)

- Syslog of PLC/SCADA into SIEM

### 4. Hardening OT Devices

- Disable unused services

- Change default passwords

- Lockdown USB ports

- Implement physical security

## Phase 3 — OT Incident Response (High Value Service)

Provide them:

- OT-specific runbooks

- Playbooks for PLC tampering, SCADA compromise

- Ransomware containment procedures

- Isolation strategies

- Recovery checklists

- Backup & restore of PLC logic

This is extremely valuable because hardly any company has OT IR readiness.